C

C	THIS PROGRAM NEEDS AT LEAST 522 kB OF FREE MEMORY TO RUN. CHECK

C	THIS BY RUNNING THE DOS COMMAND CHKDSK.

C    **********************************************************************

C

C

C

C	 --------------------------------------------------------------

C	 --------------------------------------------------------------

C	 --------------------------------------------------------------

C	 |    TO EXECUTE THE PROGRAM, TYPE :			      |

C	 |							      |

C      |       DICVOL91 "DATA FILE NAME" "OUTPUT FILE NAME"     |

C	 --------------------------------------------------------------

C	 --------------------------------------------------------------

C	 --------------------------------------------------------------

C

C

C	 A FILE EXAMPLE.DAT IS SUPPLIED FOR TESTING THE PROGRAM.

C

C

C       ======================================================================

C     ==========================================================================

C

C     DDDDDDD   IIII   CCCCCC   VV    VV   OOOOOO   LL         999999        11

C     DD    DD   II   CC    CC  VV    VV  OO    OO  LL        99    99     1111

C     DD    DD   II   CC        VV    VV  OO    OO  LL        99    99   111 11

C     DD    DD   II   CC        VV    VV  OO    OO  LL         9999999       11

C     DD    DD   II   CC         VV  VV   OO    OO  LL              99       11

C     DD    DD   II   CC    CC    VVVV    OO    OO  LL    LL  99    99       11

C     DDDDDDD   IIII   CCCCCC      VV      OOOOOO   LLLLLLLL   999999       1111

C

C     ==========================================================================

C       ======================================================================

C

C     DICVOL91-VERSION PC : 30/06/1992

C

C     (VERSION WITH SCREEN AND FILE OUTPUT - 19/03/93)

C

C     TRIAL AND ERROR METHOD FOR THE AUTOMATIC INDEXING OF POWDER DIFFRACTION

C     PATTERNS - VARIATION OF PARAMETERS BY SUCCESSIVE DICHOTOMY.

C     THIS VERSION INCLUDES PARTITION OF VOLUME SPACE.

C     THE FOLLOWING CRYSTALLINE SYSTEMS CAN BE EXAMINED :

C     CUBIC, TETRAGONAL,HEXAGONAL, ORTHORHOMBIC, MONOCLINIC

C     AND TRICLINIC.

C

C     PRECURSOR PROGRAMS :   P1 AND P2 (REF. 1), DICVOL (REF. 2)

C

C     DICVOL91 HAS BEEN WRITTEN BY D. LOUER AND A. BOULTIF (REFS. 3)

C

C     FOR FURTHER INFORMATION CONTACT

C               D. LOUER

C               LABORATOIRE DE CRISTALLOCHIMIE

C               UNIVERSITE DE RENNES I

C               CAMPUS DE BEAULIEU

C               35042 RENNES CEDEX    -FRANCE-

C               TEL.   (33) 99-28-62-48

C               FAX    (33) 99-38-34-87

C               E-MAIL  LOUER@CICB.FR

C

C      ---------------------------------------------------------------

C      |            G E N E R A L   I N S T R U C T I O N S          |

C      ---------------------------------------------------------------

C

C      DICVOL PROPOSES SOLUTIONS; THE USER DISPOSES OF THEM.

C      THE AUTHORS DISCLAIM RESPONSABILITY FOR ALL USE OF THIS

C      PROGRAM, WHETHER GOOD, BAD OR INDIFFERENT.

C

C      DATA CARDS

C      ----------

C

C  CARD 1  TITLE                                       FORMAT(16A4)

C

C

C  CARD 2  N,ITYPE,JC,JT,JH,JO,JM,JTR                  FREE FORMAT

C

C          N               NUMBER OF LINES USED.

C          ITYPE           SPACING DATA TYPE.

C                      =1  THETA BRAGG IN DEGREES.

C                      =2  2-THETA ANGLE IN DEGREES.

C                      =3  D-SPACING IN ANGSTROMS.

C                      =4  Q SPECIFIED IN Q-UNITS AS E+04/D**2.

C          JC          =0  CUBIC SYSTEM IS NOT TESTED.

C                      =1  CUBIC SYSTEM IS TESTED.

C          JT          =0  TETRAGONAL SYSTEM IS NOT TESTED.

C                      =1  TETRAGONAL SYSTEM IS TESTED.

C          JH          =0  HEXAGONAL SYSTEM IS NOT TESTED.

C                      =1  HEXAGONAL SYSTEM IS TESTED.

C          JO          =0  ORTHORHOMBIC SYSTEM IS NOT TESTED.

C                      =1  ORTHORHOMBIC SYSTEM IS TESTED.

C          JM          =0  MONOCLINIC SYSTEM IS NOT TESTED.

C                      =1  MONOCLINIC SYSTEM IS TESTED.

C          JTR         =0  TRICLINIC SYSTEM IS NOT TESTED.

C                      =1  TRICLINIC SYSTEM IS TESTED.

C

C

C  CARD 3  AMAX,BMAX,CMAX,VOLMIN,VOLMAX,BEMIN,BEMAX    FREE FORMAT

C

C          AMAX    MAXIMUM VALUE OF UNIT CELL DIMENSION A IN ANGSTROMS.

C                  (IF AMAX= 0.0 DEFAULT= 20. ANGSTROMS)

C          BMAX    MAXIMUM VALUE OF UNIT CELL DIMENSION B IN ANGSTROMS.

C                  (IF BMAX= 0.0 DEFAULT= 20. ANGSTROMS)

C          CMAX    MAXIMUM VALUE OF UNIT CELL DIMENSION C IN ANGSTROMS.

C                  (IF CMAX= 0.0 DEFAULT= 20. ANGSTROMS)

C          VOLMIN  MINIMUM VOLUME FOR TRIAL UNIT CELLS IN ANGSTROMS**3.

C          VOLMAX  MAXIMUM VOLUME FOR TRIAL UNIT CELLS IN ANGSTROMS**3.

C                  (IF VOLMAX= 0.0 DEFAULT= 1500. ANGSTROMS**3)

C          BEMIN   MINIMUM ANGLE FOR UNIT CELL IN DEGREES

C                  (IF BEMIN= 0.0 DEFAULT= 90. DEGREES).

C          BEMAX   MAXIMUM ANGLE FOR UNIT CELL IN DEGREES

C                  (IF BEMAX= 0.0 DEFAULT= 125. DEGREES).

C

C

C  CARD 4  WAVE,POIMOL,DENS,DELDEN                     FREE FORMAT

C

C          WAVE    WAVELENGTH IN ANGSTROMS (DEFAULT=0.0 IF CU K ALPHA1).

C          POIMOL  MOLECULAR WEIGHT OF ONE FORMULA UNIT IN A.M.U.

C                  (DEFAULT =0.0 IF FORMULA WEIGHT NOT KNOWN).

C          DENS    MEASURED DENSITY IN G.CM(-3)

C                  (DEFAULT =0.0 IF DENSITY NOT KNOWN).

C          DELDEN  ABSOLUTE ERROR IN MEASURED DENSITY.

C

C

C  CARD 5  EPS,FOM                                     FREE FORMAT

C

C          EPS       =0.0  THE ABSOLUTE ERROR ON EACH OBSERVED LINE

C                          IS TAKEN TO .03 DEG. 2THETA, WHATEVER THE

C                          SPACING DATA TYPE (ITYPE IN CARD 2).

C                    =1.0  THE ABSOLUTE ERROR ON EACH OBSERVED LINE IS

C                          INPUT INDIVIDUALLY IN THE FOLLOWING CARDS,

C                          TOGETHER WITH THE OBSERVED 'D(I)', ACCORDING

C                          WITH THE SPACING DATA UNIT.

C                    EPS NE 0.0 AND 1.0

C                          THE ABSOLUTE ERROR IS TAKEN AS A CONSTANT

C                          (=EPS),IN DEG. 2THETA, WHATEVER THE SPACING

C                          DATA TYPE (ITYPE IN CARD 2).

C          FOM             LOWER FIGURE OF MERIT M(N) REQUIRED FOR PRINTED

C                          SOLUTION(S) (DEFAULT=0.0 IF LOWER M(N)=5.0).

C

C

C  CARD 6 TO 6+N  D(I),EPSIL(I)                        FREE FORMAT

C

C          (ONE FOR EACH OBSERVED LINE, UP TO N)

C          D(I)    VALUE DESCRIBING THE OBSERVED POSITION

C                  OF THIS LINE ACCORDING TO 'ITYPE'.

C          EPSIL   ABSOLUTE ERROR IN 'D(I)', ACCORDING TO 'ITYPE',

C                  ONLY IF EPS=1.0 (CARD 5).

C  NOTE:

C          IF ITYPE=1,2,4 THE VALUES OF 'D(I)' AND 'EPSIL(I)' MUST

C          BE LISTED IN INCREASING ORDER.

C          IF ITYPE=3 THEY MUST BE IN DECREASING ORDER.

C

C  REFERENCES:

C     1.-  LOUER, D. AND LOUER, M., METHODE D'ESSAIS ET ERREURS POUR

C          L'INDEXATION AUTOMATIQUE DES DIAGRAMMES DE POUDRE,

C	   J. APPL. CRYST. 5, 271-275 (1972).

C     2.-  LOUER, D. AND VARGAS, R., INDEXATION AUTOMATIQUE DES

C          DIAGRAMMES DE POUDRE PAR DICHOTOMIES SUCCESSIVES,

C	   J. APPL. CRYST. 15, 542-545, (1982).

C     3.-  BOULTIF, A. AND LOUER, D., INDEXING OF POWDER DIFFRACTION

C	   PATTERNS FOR LOW SYMMETRY LATTICES BY THE SUCCESSIVE

C	   DICHOTOMY METHOD, J. APPL. CRYST. 24, 987-993 (1991).

C     4.-  DE WOLFF, P.M., A SIMPLIFIED CRITERION FOR THE RELIABILITY

C	   OF A POWDER PATTERN INDEXING, J. APPL. CRYST. 5, 108-113 (1968).

C     5.-  SMITH, G. S. AND SNYDER, R. L., F(N): A CRITERION FOR RATING

C	   POWDER DIFFRACTION PATTERNS AND EVALUATING THE RELIABILITY

C	   OF POWDER-PATTERN INDEXING, J. APPL. CRYST. 12, 60-65 (1979).

C     6.-  MIGHELL, A.D., HUBBARD, C.R. AND STALIK, J.K., NBS*AIDS80:

C          A FORTRAN PROGRAM FOR CRYSTALLOGRAPHIC DATA EVALUATION.

C          NAT. BUR. STAND. (U.S.) TECH. NOTE 1141 (1981). (NBS*AIDS83

C          IS AN EXPANDED VERSION OF NBS*AIDS80).

C     7.-  LOUER, D., AUTOMATIC INDEXING: PROCEDURES AND APPLICATIONS, IN

C          'ACCURACY IN POWDER DIFFRACTION II', NIST, SPEC. PUBL. No. 846,

C          GAITHERSBURG, MD, USA, pp. 92-104, 1992.

C        *****************************************************

C        *                                                   *

C        *         THE USE OF DICVOL91 (VERSION 1.0)         *

C        *                                                   *

C        *****************************************************

C

C      USE AS INPUT DATA THE FIRST 20 LINES (ALTHOUGH THIS NUMBER

C      CAN BE DIFFERENT). AVOID SPURIOUS LINES OR TOO INACCURATE DATA.

C      ALL SYMMETRIES CAN BE EXAMINED IN ONE RUN. HOWEVER, IT IS

C      RECOMMENDED TO USE A TWO- OR THREE-STAGE PROCEDURE :

C        1- SEARCH IN HIGH SYMMETRIES DOWN TO ORTHORHOMBIC.

C           CARD 2 : N,ITYPE,1,1,1,1,0,0

C        2- SEARCH IN MONOCLINIC SYMMETRY.

C           CARD 2 : N,ITYPE,0,0,0,0,1,0

C        3- IF NECESSARY, SEARCH IN TRICLINIC SYMMETRY.

C           CARD 2 : N,ITYPE,0,0,0,0,0,1

C

C      NOTE THAT FOR SOLUTIONS WITH TRICLINIC SYMMETRY THE USE OF A

C      REDUCTION CELL PROGRAM IS USUALLY USEFULL TO OBTAIN THE

C      CONVENTIONAL UNIT CELL (E.G. CDF-SRCH/JCPDS).

C

C      NOTE - CASE OF TRIGONAL SYMMETRY WITH RHOMBOEDRAL LATTICE:

C	     THE PATTERN IS INDEXED WITH AN HEXAGONAL LATTICE, HAVING

C	     A UNIT CELL VOLUME THREE TIMES GREATER. OWING TO THE

C	     STRATEGY BASED ON THE PATITION OF VOLUME SPACE (SHELLS OF

C	     400 A**3) YOU CAN MISS THE SOLUTION IF, BY ACCIDENT, A

C	     SMALLER (PSEUDO) SOLUTION IS FOUND IN AN OTHER SYMMETRY.

C	     IF YOU SUSPECT SUCH A CASE, RUN DICVOL91 WITH THE HEXAGONAL

C	     CASE ONLY (JC=0, JT=0, JH=1, JO=0, JM=0, JTR=0).

C

C  RECOMMENDATIONS

C   ---------------

C   1- PLEASE SPEND TIME TO ENSURE THE QUALITY OF YOUR OBSERVED DATA.

C      WITH ACCURATE DATA THE SUCCESS RATE OF DICVOL91 IS VERY HIGH

C      (SEE REF. 3).

C      WITH BAD DATA THE CHANCE TO OBTAIN THE CORRECT SOLUTION IS VERY

C      SMALL AND THE CALCULATION CAN BE TIME-CONSUMMING.

C

C      WITH MODERN X-RAY POWDER DIFFRACTOMETERS (THE USE OF MONOCHROMATIC

C      RADIATION IS STRONGLY RECOMMENDED) ABSOLUTE ERRORS ON PEAK

C      POSITIONS LOWER THAN 0.03 DEGREES 2-THETA CAN BE ROUTINELY OBTAINED.

C      FOR INDEXING PURPOSES, ERRORS SHOULD NOT EXCEED 0.03 DEG. 2-THETA

C      [IN EXCEPTIONAL CASES, A FEW LINES WITH GREATER ERROR CAN BE

C      INTRODUCED IN INPUT DATA. IN THIS CASE, USE THE PARAMETER EPS= 1.

C      (CARD 5), AND ENTER INDIVIDUAL ERRORS ON EACH LINE(CARD 6 TO 6+N)].

C

C      WITH HIGH RESOLUTION POWDER DIFFRACTION DATA (CONVENTIONAL OR,

C      PARTICULARLY, SYNCHROTRON X-RAY SOURCES) THE ABSOLUTE ERROR IS

C      USUALLY LESS THAN 0.02 (OR EVEN 0.01) DEG. 2-THETA; CONSEQUENTLY,

C      EPS=0.02 (OR EVEN EPS=0.01) IS THEN RECOMMENDED; THE CONVERGENCE

C      OF THE DICHOTOMY PROCEDURE WILL BE IMPROVED. HOWEVER, BE SURE THAT

C      THIS CONDITION IS TRUE FOR ALL THE LINES USED AS INPUT DATA.

C

C   2- IF DICVOL91 HAS FOUND A SOLUTION FROM THE FIRST 20 (OR N) LINES,

C      THIS SOLUTION MUST INDEXED THE COMPLETE POWDER DIFFRACTION

C      PATTERN FOR THIS PURPOSE, THE PROGRAM NBS*AIDS83 (REF. 6) CAN BE

C      USED.

C

C           ----------          ------------------          ----------

C           |        |=========>|     CUBIC      |=========>|        |

C           |        |          ------------------          |        |

C           |        |                   V                  |        |

C           |        |              ----------              |        |

C           |        |              | CUDHKL |              |        |

C           |        |              ----------              |    A   |

C           |        |                                      |    F   |

C           |        |                                      |    F   |

C           |        |                                      |    I   |

C           |        |          ------------------          |    N   |

C           |        |=========>|   TETRAGONAL   |=========>|    E   |

C           |    P   |          ------------------          |    M   |

C           |    R   |                   V                  |    E   |

C           |    O   |              ----------              |    N   |

C           |    G   |              | TEDHKL |              |    T   |

C           |    R   |              ----------              |        |

C           |    A   |                                      |        |

C           |    M   |                                      |    D   |

C           |    M   |                                      |    E   |

C           |    E   |          ------------------          |    S   |

C           |        |=========>|    HEXAGONAL   |=========>|        |

C           |        |          ------------------          |        |

C           |    P   |                   V                  |    P   |

C           |    R   |              ----------              |    A   |

C           |    I   |              | TEDHKL |              |    R   |

C           |    N   |              ----------              |    A   |

C           |    C   |                                      |    M   |

C           |    I   |                                      |    E   |

C           |    P   |                                      |    T   |

C           |    A   |          ------------------          |    R   |

C           |    L   |=========>|  ORTHORHOMBIC  |=========>|    E   |

C           |        |          ------------------          |    S   |

C           |        |                   V                  |        |

C           |        |              ----------              |        |

C           |        |              | ORDHKL |              |        |

C           |        |              ----------              |        |

C           |        |                                      |        |

C           |        |                                      |        |

C           |        |          ------------------          |    R   |

C           |        |=========>|   MONOCLINIC   |=========>|    E   |

C           |        |          ------------------          |    S   |

C           |        |                   V                  |        |

C           |        |              ----------              |        |

C           |        |              | MODHKL |              |        |

C           |        |              ----------              |        |

C           |        |                                      |        |

C           |        |                                      |        |

C           |        |          ------------------          |        |

C           |        |=========>|   TRICLINIC    |=========>|        |

C           |        |          ------------------          ----------

C           |        |                   V                       V

C           |        |              ----------              ----------

C           |        |              | TRIHKL |              | PASAJE |

C           ----------              ----------              ----------